Hobbyist marine water SBSBR performance details

Water quality was poor with conventional filtration units.

A SBSBR was installed on 09/05/2012. The System was installed in one tank and interconnected with 3 other aquarium tanks, water was recirculated.  Aeration was also given to SBSBR.

On 8th June, after treatment with SBSBR, water quality was analyzed and found to be good.  A Clown fish had developed a wound which was cured by adding streptomycetes sulphate in dosage of 100mg /litre. In addition to SBSBR, Detrodigest (a water probiotic) was added periodically.

Water quality was analyzed again on 11/7/2012 and was found to be good. The results are tabulated below:

Tank volume 		: 	600 liters

Marine/fresh 		:	Marine

No of tanks		:	3

Result	: 	Water quality and clarity was good.

Fishes were very active.

Increased Feed intake

| S.NO | Date | Ammonia (ppm) | Nitrite (ppm) | Nitrate (ppm) | pH | Status |
| --- | --- | --- | --- | --- | --- | --- |
| Before treatment with SBSBR | 04/04/2012 | 0.5 | 0 | 5.1 | 8.1 | poor |
| After treatment with SBSBR | 08/06/2012 | 0.02 | 0 | 6.8 | 7.65 | good |
| After treatment with SBSBR | 11/07/2012 | 0.09 | 0 | 6.8 | 7.9 | good |